{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["Tool","Varianten","Messungen","Drop_downs"],"not_rendered":{"charts":4,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Tool","index":0,"n_rows":121,"n_cols":27,"rows_kept":121,"cut":false,"hidden":false,"merged":[[0,4,0,26],[5,0,6,0]]}
[null,"Dämmung","Putz","Grundbauteil","Terzband-Mittenfrequenz in Hz"]
[null,"Dynamische Steifigkeit in MN/m³","Putzmasse in kg/m²",null,50,63,80,100,125,160,200,250,315,400,500,630,800,1000,1250,1600,2000,2500,3150,4000,5000,null,"EZW"]
["Eingabewert",50,18,"Schalldämmmaß",45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,null,{"$f":"einzahlwert($H$3:$W$3)","v":63}]
["Maximalwert",61,18.600000000000001,"Maximalwert",45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994]
["Minimalwert",8,4.2,"Minimalwert",29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1]
["Resonanz-frequenz in Hz",null,null,"Verbesserungsmaß",{"$f":"E112+E114+E111+E113+E115","v":-9.8860989354296169},-6.6034823300964796,3.9726514424930666,-6.0172786933217512,-3.1871903856792292,-4.1264278267591452,-3.5689148274915903,-6.557203902166032,-2.4460787593323641,1.7694290000176061,6.3287288864497668,7.4445923437710277,13.463900266002572,14.383347525144419,13.777665048288299,12.450180455292973,11.972464447057948,11.252719094113873,10.319918428331842,9.9875724788079552,11.454991723921953,null,{"$f":"AA7-AA3","v":-1}]
[null,{"$f":"160*SQRT(B3/C3)","v":266.66666666666669},null,"Gesamtkonstruktion",{"$f":"E6+E3","v":36.013901064570383},30.996517669903522,42.972651442493067,44.182721306678253,43.912809614320771,45.573572173240855,44.831085172508409,45.642796097833973,52.353921240667631,60.169429000017601,65.02872888644977,70.244592343771018,76.063900266002577,79.183347525144413,79.977665048288301,81.650180455292968,82.172464447057948,82.452719094113874,83.819918428331846,86.987572478807948,90.554991723921944,null,{"$f":"einzahlwert(H7:W7)","v":62}]
[null,{"$f":"IF(AND(B3<=B4,B3>=B5),\"\",\"FEHLER\")","v":""},{"$f":"IF(AND(C3<=C4,C3>=C5),\"\",\"FEHLER\")","v":""},null,{"$f":"IF(AND(E3<=E4,E3>=E5),\"\",\"FEHLER\")","v":""},"","","","","","","","","","","","","","","","","","","",""]
[null,null,"Grundbauteil auswahl:","SHB Beton",{"$f":"INDEX(Drop_downs!B3:B4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":45.9},{"$f":"INDEX(Drop_downs!C3:C4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":37.6},{"$f":"INDEX(Drop_downs!D3:D4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":39},{"$f":"INDEX(Drop_downs!E3:E4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":50.2},{"$f":"INDEX(Drop_downs!F3:F4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":47.1},{"$f":"INDEX(Drop_downs!G3:G4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":49.7},{"$f":"INDEX(Drop_downs!H3:H4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":48.4},{"$f":"INDEX(Drop_downs!I3:I4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":52.2},{"$f":"INDEX(Drop_downs!J3:J4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":54.8},{"$f":"INDEX(Drop_downs!K3:K4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":58.4},{"$f":"INDEX(Drop_downs!L3:L4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":58.7},{"$f":"INDEX(Drop_downs!M3:M4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":62.8},{"$f":"INDEX(Drop_downs!N3:N4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":62.6},{"$f":"INDEX(Drop_downs!O3:O4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":64.8},{"$f":"INDEX(Drop_downs!P3:P4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":66.2},{"$f":"INDEX(Drop_downs!Q3:Q4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":69.2},{"$f":"INDEX(Drop_downs!R3:R4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":70.2},{"$f":"INDEX(Drop_downs!S3:S4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":71.2},{"$f":"INDEX(Drop_downs!T3:T4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":73.5},{"$f":"INDEX(Drop_downs!U3:U4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":77},{"$f":"INDEX(Drop_downs!V3:V4,MATCH(Tool!$D$9,Drop_downs!$A$3:$A$4,0))","v":79.099999999999994}]
[{"$f":"IF(COUNTIF(B8:Y8,\"FEHLER\")>0,\"FEHLER IN EINGABE\",\"Eingabe in Ordnung\")","v":"Eingabe in Ordnung"}]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Blattschutz-Kennwort: \"shb\""]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,"Ergebnismatrix",23.029752004174952,21.462211082442014,-227.1994089099353,-4.130333783244474,-6.3644945897514305,10.165535321406143,-0.23527910501994853,2.2141823300221048,-1.811932621016501,3.1609235889032163,0.94900629360543576,12.141980116395828,5.8622509226886663,11.995938696158639,23.434832591154841,29.730448397511609,33.873390048105136,36.839535986849974,43.979810770904855,48.390642170288487,35.931435264259264]
[null,null,null,null,-0.80332300780993404,-0.75524521583450654,5.9005491001921104,-0.11448535629695883,-5.5535418638653078E-2,-0.3509292325418924,0.12403143533205857,3.9602706092595294E-2,6.8324211121346873E-2,-2.1416862457604435E-2,8.5679880277004461E-2,-0.16743091261663126,-1.0300224158217658E-2,-0.1064752502197836,-0.24124004129307852,-0.3199822654568012,-0.35991669869013942,-0.38253520183583711,-0.4271745101245602,-0.44396966928374548,-0.30410835914537471]
[null,null,null,null,5.0087424110911688E-2,-1.2759246580968067E-2,3.5333587902205352E-2,0.12363347728584934,0.15709223609651929,5.6151005108969643E-2,-0.14660928966857351,-0.1611342117503119,-0.16275623779858917,-0.18625219743071364,-7.7677634900382042E-2,-0.14550751108627213,-7.1122622046507322E-2,-3.4591101963587167E-2,-8.0830024769754427E-2,-9.6523542094472337E-2,-0.10363860821786153,-0.17689400120721732,-0.17791617953452699,-4.6764919922022585E-2,-5.6118674210999586E-2]
[null,null,null,null,9.2367349865694892E-2,5.8542898543041372E-2,-3.3425721798419267E-2,-0.14087138445624292,-0.14676654171516923,3.8661511849524821E-4,0.14086211114264846,0.30149952512608924,0.57317269989665875,0.70489836916643345,0.39919714214198976,0.75304419632785835,0.66990054928305343,0.61875892237022079,0.56804651920596694,0.53847596347509441,0.48641806260993548,0.55735117574770765,0.35505218789024884,-5.426977413676326E-2,0.14024408197171923]
[null,null,null,null,-26.919473184856315,-5.3941210807928996,-3.6598706496843842,3.4276965111994073,4.6416669439987359,1.3388415263414686,-9.0836214193645475,-8.2089283549756225,-6.5576096159760695,-7.0326211896432653,-11.805412771810182,-3.6971715191056056,-4.090166546420221,-3.8752147602194782,8.2935733449967302,-0.49733253581734971,-53.342225685801168,236.57900793734552,248.1190361948502,-1847.9170069898537,-573.16186881695467]
[]
[]
[null,null,null,"Resonanz-Faktor",{"$f":"2^(-1*ROUNDDOWN(ABS((3*LOG(E$2/$B$7,2))),0))","v":7.8125E-3},1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4]
[null,null,null,"Beitrag Bias",{"$f":"E103","v":23.029752004174952},21.462211082442014,-227.1994089099353,-4.130333783244474,-6.3644945897514305,10.165535321406143,-0.23527910501994853,2.2141823300221048,-1.811932621016501,3.1609235889032163,0.94900629360543576,12.141980116395828,5.8622509226886663,11.995938696158639,23.434832591154841,29.730448397511609,33.873390048105136,36.839535986849974,43.979810770904855,48.390642170288487,35.931435264259264]
[null,null,null,"Beitrag Grundbauteil",{"$f":"E3*E104","v":-36.87252605847597},-28.397220115377447,230.12141490749229,-5.7471648861073339,-2.61571821788056,-17.441182857332052,6.0031214700716342,2.0672612580334744,3.7441667694498086,-1.250744767524099,5.0294089722601623,-10.514661312324442,-0.64479403230442545,-6.8995962142419769,-15.970090733601799,-22.142772769610644,-25.266152248047788,-27.236506370711602,-31.397326494155173,-34.185664534848399,-24.054971208399138]
[null,null,null,"Beitrag Dämmung",{"$f":"$B$3*E105","v":2.5043712055455845},-0.63796232904840333,1.7666793951102675,6.1816738642924669,7.8546118048259643,2.8075502554484819,-7.330464483428675,-8.0567105875155942,-8.1378118899294591,-9.3126098715356811,-3.8838817450191021,-7.2753755543136069,-3.5561311023253661,-1.7295550981793584,-4.0415012384877214,-4.8261771047236168,-5.1819304108930764,-8.8447000603608661,-8.8958089767263502,-2.3382459961011293,-2.8059337105499793]
[null,null,null,"Beitrag Putzmasse",{"$f":"$C$3*E106","v":1.6626122975825082},1.0537721737747447,-0.60166299237154686,-2.5356849202123728,-2.6417977508730459,6.9590721329144678E-3,2.5355180005676723,5.4269914522696059,10.317108598139857,12.688170644995802,7.1855485585558156,13.55479553390145,12.058209887094961,11.137660602663974,10.224837345707405,9.6925673425516994,8.7555251269788386,10.032321163458738,6.3909393820244791,-0.97685593446173868,2.5243934754909461]
[null,null,null,"Beitrag Resonanzfaktor",{"$f":"E110*E107","v":-0.21030838425668996},-8.4283141887389057E-2,-0.11437095780263701,0.21423103194996296,0.58020836799984199,0.33471038158536714,-4.5418107096822737,-8.2089283549756225,-6.5576096159760695,-3.5163105948216327,-2.9513531929525456,-0.4621464398882007,-0.25563540915126381,-0.12110046125685869,0.12958708351557391,-3.8854104360730446E-3,-0.20836806908516081,0.46206837487762797,0.24230374628403339,-0.9023032260692645,-0.13993209687913932]
[null,null,null,"95% Konfidenz",2.6545755720601831,2.126967686097375,3.7226646026674932,5.139102988769797,5.8954373844242829,6.2790586221836326,7.438057346087823,6.5074214085012319,5.0717487865345188,4.8618140627928934,3.0180758593503536,4.3114724133181577,5.0542460714263715,5.1672401124468488,3.2510204399947371,3.0162650095749566,4.8151044133764458,5.3411221219608107,5.7428751688337041,4.8770117586156996,4.2836145820291618]
[]
[null,null,null,"Bezugskurvendelta",{"$f":"bk_offset(H3:W3)","v":11}]
[null,null,null,"Bezugskurve",null,null,null,33,36,39,42,45,48,51,52,53,54,55,55,55,55,55,55]
[null,null,null,"verschobene Bezugskurve",null,null,null,{"$f":"H119+$E$118","v":44},{"$f":"I119+$E$118","v":47},50,53,56,59,62,63,64,65,66,66,66,66,66,66]
[null,null,null,"Strichlierte Linie",null,null,null,-10,null,null,null,null,null,null,null,null,null,null,null,null,null,null,-10]

{"sheet":"Varianten","index":1,"n_rows":60,"n_cols":24,"rows_kept":60,"cut":false,"hidden":true,"merged":[]}
[null,50,63,80,100,125,160,200,250,315,400,500,630,800,1000,1250,1600,2000,2500,3150,4000,5000,null,"EZW"]
["Verbesserungsmaß - Rechnung",{"$f":"B55+B57+B54+B56+B58","v":2.3366346130662423},-0.12216390168057467,-1.9871390894195551,-3.2882116932408851,-1.4033604546745078,0.32768425424141023,-3.2737453726852808,-4.5708429433490219,-6.8415299370344016,-9.6801446699908809,-8.1712845294952743,-0.25595185525864217,5.2094560721062981,9.0118511860101496,13.8425142954208,14.790071063117024,14.726109859257965,14.917619730549415,15.770512418384781,17.340302320688391,15.73849990883215,null,{"$f":"X4-einzahlwert($E$52:$T$52)","v":0}]
["Verbesserungsmaß - Messung",{"$f":"INDEX(Messungen!BF5:BF50,$A$42)","v":1.8850209008422425},{"$f":"INDEX(Messungen!BG5:BG50,$A$42)","v":-0.30000000000000071},{"$f":"INDEX(Messungen!BH5:BH50,$A$42)","v":-2.3999999999999986},{"$f":"INDEX(Messungen!BI5:BI50,$A$42)","v":-4.2999999999999972},{"$f":"INDEX(Messungen!BJ5:BJ50,$A$42)","v":-0.79999999999999716},{"$f":"INDEX(Messungen!BK5:BK50,$A$42)","v":1.7999999999999972},{"$f":"INDEX(Messungen!BL5:BL50,$A$42)","v":-2.5},{"$f":"INDEX(Messungen!BM5:BM50,$A$42)","v":-3.8999999999999986},{"$f":"INDEX(Messungen!BN5:BN50,$A$42)","v":-6.4000000000000057},{"$f":"INDEX(Messungen!BO5:BO50,$A$42)","v":-9.7999999999999972},{"$f":"INDEX(Messungen!BP5:BP50,$A$42)","v":-7.7999999999999972},{"$f":"INDEX(Messungen!BQ5:BQ50,$A$42)","v":-0.39999999999999858},{"$f":"INDEX(Messungen!BR5:BR50,$A$42)","v":5.6000000000000014},{"$f":"INDEX(Messungen!BS5:BS50,$A$42)","v":10.100000000000001},{"$f":"INDEX(Messungen!BT5:BT50,$A$42)","v":14.899999999999999},{"$f":"INDEX(Messungen!BU5:BU50,$A$42)","v":15.5},{"$f":"INDEX(Messungen!BV5:BV50,$A$42)","v":15.699999999999996},{"$f":"INDEX(Messungen!BW5:BW50,$A$42)","v":16.299999999999997},{"$f":"INDEX(Messungen!BX5:BX50,$A$42)","v":17.299999999999997},{"$f":"INDEX(Messungen!BY5:BY50,$A$42)","v":18.604277999836711},{"$f":"INDEX(Messungen!BZ5:BZ50,$A$42)","v":14.061453616618813},null,{"$f":"X5-einzahlwert($E$52:$T$52)","v":0}]
["Schalldämmmaß - Rechnung",{"$f":"B2+B52","v":32.054673429087629},{"$f":"C2+C52","v":28.077836098319423},35.912860910580441,37.611788306759117,40.996639545325493,36.927684254241413,35.126254627314715,35.729157056650976,34.358470062965601,33.119855330009116,38.628715470504723,48.144048144741355,52.509456072106296,55.111851186010149,54.342514295420798,57.190071063117024,59.826109859257969,62.917619730549418,68.07051241838478,72.840302320688394,73.838499908832148,null,{"$f":"einzahlwert(E4:T4)","v":46}]
["Schalldämmmaß - Messung",{"$f":"B3+B52","v":31.603059716863626},{"$f":"C3+C52","v":27.9},35.5,36.6,41.6,38.4,35.9,36.4,34.799999999999997,33,39,48,52.9,56.2,55.4,57.9,60.8,64.3,69.599999999999994,74.104277999836711,72.161453616618815,null,{"$f":"einzahlwert(E5:T5)","v":46}]
[]
[]
["Variantennummer aus Dropdown auswählen"]
[38490314]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Blattschutz-Kennwort: \"shb\""]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Parameter aus Zeile","Dämmung","Putzmasse"]
[{"$f":"MATCH(A9,Messungen!A5:A50,0)","v":11},{"$f":"INDEX(Messungen!AC5:AC50,$A$42)","v":52},{"$f":"INDEX(Messungen!AF5:AF50,$A$42)","v":6.8}]
[]
[]
["Ergebnismatrix",23.029752004174952,21.462211082442014,-227.1994089099353,-4.130333783244474,-6.3644945897514305,10.165535321406143,-0.23527910501994853,2.2141823300221048,-1.811932621016501,3.1609235889032163,0.94900629360543576,12.141980116395828,5.8622509226886663,11.995938696158639,23.434832591154841,29.730448397511609,33.873390048105136,36.839535986849974,43.979810770904855,48.390642170288487,35.931435264259264]
[null,-0.80332300780993404,-0.75524521583450654,5.9005491001921104,-0.11448535629695883,-5.5535418638653078E-2,-0.3509292325418924,0.12403143533205857,3.9602706092595294E-2,6.8324211121346873E-2,-2.1416862457604435E-2,8.5679880277004461E-2,-0.16743091261663126,-1.0300224158217658E-2,-0.1064752502197836,-0.24124004129307852,-0.3199822654568012,-0.35991669869013942,-0.38253520183583711,-0.4271745101245602,-0.44396966928374548,-0.30410835914537471]
[null,5.0087424110911688E-2,-1.2759246580968067E-2,3.5333587902205352E-2,0.12363347728584934,0.15709223609651929,5.6151005108969643E-2,-0.14660928966857351,-0.1611342117503119,-0.16275623779858917,-0.18625219743071364,-7.7677634900382042E-2,-0.14550751108627213,-7.1122622046507322E-2,-3.4591101963587167E-2,-8.0830024769754427E-2,-9.6523542094472337E-2,-0.10363860821786153,-0.17689400120721732,-0.17791617953452699,-4.6764919922022585E-2,-5.6118674210999586E-2]
[null,9.2367349865694892E-2,5.8542898543041372E-2,-3.3425721798419267E-2,-0.14087138445624292,-0.14676654171516923,3.8661511849524821E-4,0.14086211114264846,0.30149952512608924,0.57317269989665875,0.70489836916643345,0.39919714214198976,0.75304419632785835,0.66990054928305343,0.61875892237022079,0.56804651920596694,0.53847596347509441,0.48641806260993548,0.55735117574770765,0.35505218789024884,-5.426977413676326E-2,0.14024408197171923]
[null,-26.919473184856315,-5.3941210807928996,-3.6598706496843842,3.4276965111994073,4.6416669439987359,1.3388415263414686,-9.0836214193645475,-8.2089283549756225,-6.5576096159760695,-7.0326211896432653,-11.805412771810182,-3.6971715191056056,-4.090166546420221,-3.8752147602194782,8.2935733449967302,-0.49733253581734971,-53.342225685801168,236.57900793734552,248.1190361948502,-1847.9170069898537,-573.16186881695467]
[]
[]
["Schaldämmmaß - Grundbauteil",{"$f":"INDEX(Messungen!F5:F50,$A$42)","v":29.718038816021384},{"$f":"INDEX(Messungen!G5:G50,$A$42)","v":28.2},{"$f":"INDEX(Messungen!H5:H50,$A$42)","v":37.9},{"$f":"INDEX(Messungen!I5:I50,$A$42)","v":40.9},{"$f":"INDEX(Messungen!J5:J50,$A$42)","v":42.4},{"$f":"INDEX(Messungen!K5:K50,$A$42)","v":36.6},{"$f":"INDEX(Messungen!L5:L50,$A$42)","v":38.4},{"$f":"INDEX(Messungen!M5:M50,$A$42)","v":40.299999999999997},{"$f":"INDEX(Messungen!N5:N50,$A$42)","v":41.2},{"$f":"INDEX(Messungen!O5:O50,$A$42)","v":42.8},{"$f":"INDEX(Messungen!P5:P50,$A$42)","v":46.8},{"$f":"INDEX(Messungen!Q5:Q50,$A$42)","v":48.4},{"$f":"INDEX(Messungen!R5:R50,$A$42)","v":47.3},{"$f":"INDEX(Messungen!S5:S50,$A$42)","v":46.1},{"$f":"INDEX(Messungen!T5:T50,$A$42)","v":40.5},{"$f":"INDEX(Messungen!U5:U50,$A$42)","v":42.4},{"$f":"INDEX(Messungen!V5:V50,$A$42)","v":45.1},{"$f":"INDEX(Messungen!W5:W50,$A$42)","v":48},{"$f":"INDEX(Messungen!X5:X50,$A$42)","v":52.3},{"$f":"INDEX(Messungen!Y5:Y50,$A$42)","v":55.5},{"$f":"INDEX(Messungen!Z5:Z50,$A$42)","v":58.1}]
["Resonanz-Faktor",{"$f":"INDEX(Messungen!AK5:AK50,$A$42)","v":1.953125E-3},{"$f":"INDEX(Messungen!AL5:AL50,$A$42)","v":3.90625E-3},{"$f":"INDEX(Messungen!AM5:AM50,$A$42)","v":7.8125E-3},{"$f":"INDEX(Messungen!AN5:AN50,$A$42)","v":1.5625E-2},{"$f":"INDEX(Messungen!AO5:AO50,$A$42)","v":3.125E-2},{"$f":"INDEX(Messungen!AP5:AP50,$A$42)","v":6.25E-2},{"$f":"INDEX(Messungen!AQ5:AQ50,$A$42)","v":0.125},{"$f":"INDEX(Messungen!AR5:AR50,$A$42)","v":0.25},{"$f":"INDEX(Messungen!AS5:AS50,$A$42)","v":0.5},{"$f":"INDEX(Messungen!AT5:AT50,$A$42)","v":1},{"$f":"INDEX(Messungen!AU5:AU50,$A$42)","v":1},{"$f":"INDEX(Messungen!AV5:AV50,$A$42)","v":0.5},{"$f":"INDEX(Messungen!AW5:AW50,$A$42)","v":0.25},{"$f":"INDEX(Messungen!AX5:AX50,$A$42)","v":0.125},{"$f":"INDEX(Messungen!AY5:AY50,$A$42)","v":6.25E-2},{"$f":"INDEX(Messungen!AZ5:AZ50,$A$42)","v":3.125E-2},{"$f":"INDEX(Messungen!BA5:BA50,$A$42)","v":1.5625E-2},{"$f":"INDEX(Messungen!BB5:BB50,$A$42)","v":7.8125E-3},{"$f":"INDEX(Messungen!BC5:BC50,$A$42)","v":3.90625E-3},{"$f":"INDEX(Messungen!BD5:BD50,$A$42)","v":1.953125E-3},{"$f":"INDEX(Messungen!BE5:BE50,$A$42)","v":9.765625E-4}]
["Beitrag Bias",{"$f":"B45","v":23.029752004174952},21.462211082442014,-227.1994089099353,-4.130333783244474,-6.3644945897514305,10.165535321406143,-0.23527910501994853,2.2141823300221048,-1.811932621016501,3.1609235889032163,0.94900629360543576,12.141980116395828,5.8622509226886663,11.995938696158639,23.434832591154841,29.730448397511609,33.873390048105136,36.839535986849974,43.979810770904855,48.390642170288487,35.931435264259264]
["Beitrag Grundbauteil",{"$f":"B52*B46","v":-23.87318432789867},-21.297915086533084,223.63081089728098,-4.6824510725456161,-2.3547017502788905,-12.844009911033263,4.7628071167510493,1.5959890555315903,2.8149574981994911,-0.91664171318546972,4.0098183969638086,-8.1036561706449532,-0.48720060268369519,-4.908509035132024,-9.7702216723696793,-13.567248055368371,-16.232243110925289,-18.36168968812018,-22.341226879514497,-24.640316645247875,-17.66869566634627]
["Beitrag Dämmung",{"$f":"$B$42*B47","v":2.6045460537674079},-0.66348082221033944,1.8373465709146783,6.4289408188641657,8.1687962770190037,2.9198522656664214,-7.6236830627658225,-8.3789790110162183,-8.4633243655266366,-9.6851142663971093,-4.0392370148198662,-7.5663905764861514,-3.6983763464183808,-1.7987373021065327,-4.2031612880272302,-5.0192241889125615,-5.3892076273287994,-9.1984880627753007,-9.2516413357954033,-2.4317758359451744,-2.9181710589719785]
["Beitrag Putzmasse",{"$f":"$C$42*B48","v":0.62809797908672527},0.39809171009268129,-0.227294908229251,-0.95792541430245182,-0.99801248366315076,2.6289828057676876E-3,0.95786235577000955,2.0501967708574069,3.8975743592972796,4.7933089103317474,2.7145405665655304,5.120700535029437,4.5553237351247633,4.2075606721175012,3.8627163306005752,3.6616365516306417,3.307642825747561,3.7899879950844118,2.4143548776536918,-0.36903446412999014,0.95365975740769071]
["Beitrag Resonanzfaktor",{"$f":"B53*B49","v":-5.257709606417249E-2},-2.1070785471847264E-2,-2.8592739450659252E-2,5.3557757987490739E-2,0.1450520919999605,8.3677595396341786E-2,-1.1354526774205684,-2.0522320887439056,-3.2788048079880348,-7.0326211896432653,-11.805412771810182,-1.8485857595528028,-1.0225416366050553,-0.48440184502743477,0.51834833406229563,-1.5541641744292178E-2,-0.83347227634064325,1.8482734995105119,0.96921498513613358,-3.609212904277058,-0.55972838751655729]
[]
["95% Konfidenz",2.287054110864184,2.0892709936578084,2.7690637024564442,4.3384342789980757,5.0807980288962273,5.1695261142589803,6.0259684266993876,5.0709608853735286,5.0825719920213572,4.0425626640793233,2.6816746002260916,4.3471988969642199,4.6106559827687557,4.362764764106176,3.0901795522894178,3.1821614175915198,4.2733106537685526,5.0050152146745663,5.4434738583638005,4.704547924905798,4.3889890364658104,null,2.5338279595851905]

{"sheet":"Messungen","index":2,"n_rows":50,"n_cols":79,"rows_kept":50,"cut":false,"hidden":true,"merged":[]}
[]
[null,null,null,null,null,"Schalldämmmaß_Grundbauteil",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"10- abs(Abstand zu Resonanzfrequenz)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Lösungsvektor y: Verbesserungsmaß",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Vorhersage_Verbesserungsmaß"]
[null,null,null,null,null,"dB",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Dynamische Steifigkeit des Dämmstoffes","Putzdicke","Putzdichte","Putzmasse","Anzahl der Dübel",null,null,null,"in TB",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"dB"]
["Variantennummer","Zeile","Grundbauteilnummer","Zeile",null,50,63,80,100,125,160,200,250,315,400,500,630,800,1000,1250,1600,2000,2500,3150,4000,5000,"EZW_Grundbauteil","EZW_Konstruktion","MN/m3","m","kg/m3","gm/m2",1,"Messung bei Resonanzeinbruch","Resonanzeinbruch in TB","Berechnete Resonanzfrequenz",50,63,80,100,125,160,200,250,315,400,500,630,800,1000,1250,1600,2000,2500,3150,4000,5000,50,63,80,100,125,160,200,250,315,400,500,630,800,1000,1250,1600,2000,2500,3150,4000,5000,"EZW"]
[38490303,7,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,52,5.0000000000000001E-3,1200,6.8,0,-10.399999999999999,400,442.45305500397774,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,2.5110670053836728,-9.9999999999997868E-2,-1.7999999999999972,-2.6999999999999957,-1.6000000000000014,-1,-2.5,-5.0999999999999943,-8.1000000000000014,-10.399999999999999,-7.1999999999999957,1.8999999999999986,8.6000000000000014,12.699999999999996,13.5,13.200000000000003,12.799999999999997,12.5,12.299999999999997,15.299999999999997,13.524919635035083,0]
[38490304,8,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,52,5.0000000000000001E-3,1200,6.8,6,-9.7999999999999972,400,442.45305500397774,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,2.6017548203264127,-9.9999999999997868E-2,-1.5,-2.8999999999999986,0.30000000000000426,0.39999999999999858,-3.1999999999999957,-4.8999999999999986,-7.3000000000000043,-9.7999999999999972,-7.1999999999999957,1,7.4000000000000057,10.5,13.399999999999999,13.399999999999999,13.399999999999999,13.399999999999999,13.799999999999997,16.087007176964406,15.532499294703221,0]
[38490306,10,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,52,5.0000000000000001E-3,1200,6.8,6,-9.5,400,442.45305500397774,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,1.864985853082807,-9.9999999999997868E-2,-1.6999999999999957,-3.6999999999999957,-0.19999999999999574,0.29999999999999716,-2.6000000000000014,-5.1999999999999957,-7.3000000000000043,-9.5,-6.7999999999999972,1.8000000000000043,8.5,8.1000000000000014,11.100000000000001,13.5,13.199999999999996,13,12.700000000000003,13.599999999999994,13.487997585242248,0]
[38490307,11,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,52,5.0000000000000001E-3,1200,6.8,6,-9.5,400,442.45305500397774,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,2.6906521930697735,-0.69999999999999929,-2,-3.5,-0.5,0.29999999999999716,-2.7999999999999972,-5.1999999999999957,-7.3000000000000043,-9.5,-6.6999999999999957,1.3000000000000043,8.2000000000000028,12,14.399999999999999,14,14,14,14.700000000000003,17.375296657273253,16.837334240394647,0]
[38490308,12,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,52,5.0000000000000001E-3,1200,6.8,6,-9.8999999999999986,400,442.45305500397774,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,2.1378822846820604,-0.89999999999999858,-1.3999999999999986,-2.6999999999999957,-0.69999999999999574,-0.20000000000000284,-3.2999999999999972,-5.3999999999999986,-7.1000000000000014,-9.8999999999999986,-7.2999999999999972,0.60000000000000142,6.6000000000000014,10.5,13.700000000000003,13.600000000000001,13.699999999999996,13.899999999999999,14.5,17.009885512608179,15.377189657511316,0]
[38490309,13,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,52,5.0000000000000001E-3,1200,6.8,10,-9.0999999999999943,400,442.45305500397774,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,3.2162132753105936,1.8000000000000007,-3.2999999999999972,-5.5,-1.3999999999999986,1.5,-2.5,-4.3999999999999986,-6.8000000000000043,-9.0999999999999943,-7.3999999999999986,0,6.1000000000000014,11.100000000000001,14.5,14.600000000000001,9.2999999999999972,12.399999999999999,14.299999999999997,13.5,13.618318559684489,0]
[38490310,14,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,52,5.0000000000000001E-3,1200,6.8,10,-9.2999999999999972,400,442.45305500397774,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,1.7311790473404898,0.60000000000000142,-2.1999999999999957,-6.7999999999999972,0.39999999999999858,2.2999999999999972,-2.3999999999999986,-4.0999999999999943,-7,-9.2999999999999972,-7.0999999999999943,0.30000000000000426,6.5,11.5,15.799999999999997,16.200000000000003,16,16.5,17.600000000000009,19.207501309133988,17.310403217268039,0]
[38490311,15,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,52,5.0000000000000001E-3,1200,6.8,10,-9.7999999999999972,400,442.45305500397774,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,2.2601290565935308,0.90000000000000213,-2.2999999999999972,-4.6999999999999957,-1.3999999999999986,1,-3,-4.6999999999999957,-6.8000000000000043,-9.7999999999999972,-8.0999999999999943,-0.19999999999999574,5.3000000000000043,10,15.100000000000001,15.800000000000004,15.600000000000001,16.299999999999997,17.200000000000003,19.015481493354855,17.05926274953061,0]
[38490312,16,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,52,5.0000000000000001E-3,1200,6.8,12,-9.5999999999999943,400,442.45305500397774,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,2.4533455345022261,0.60000000000000142,-2.7999999999999972,-5.1000000000000014,-1.6000000000000014,1,-2.6000000000000014,-4,-6.7000000000000028,-9.5999999999999943,-8,-0.60000000000000142,5.3000000000000043,9.7999999999999972,14.899999999999999,15.5,15.5,16.099999999999994,17.299999999999997,18.433695028530906,16.519656900535729,0]
[38490313,17,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,52,5.0000000000000001E-3,1200,6.8,12,-9.8999999999999986,400,442.45305500397774,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,2.3215882324853823,1.3000000000000007,-2,-4.7999999999999972,-1.5,0.89999999999999858,-3,-4.2999999999999972,-6.7000000000000028,-9.8999999999999986,-7.6999999999999957,-0.29999999999999716,5.5,8.8999999999999986,13.100000000000001,15.399999999999999,15.299999999999997,15.799999999999997,16.200000000000003,16.497443690183843,13.786144594561414,0]
[38490314,18,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,52,5.0000000000000001E-3,1200,6.8,12,-9.7999999999999972,400,442.45305500397774,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,1.8850209008422425,-0.30000000000000071,-2.3999999999999986,-4.2999999999999972,-0.79999999999999716,1.7999999999999972,-2.5,-3.8999999999999986,-6.4000000000000057,-9.7999999999999972,-7.7999999999999972,-0.39999999999999858,5.6000000000000014,10.100000000000001,14.899999999999999,15.5,15.699999999999996,16.299999999999997,17.299999999999997,18.604277999836711,14.061453616618813,0]
[38490315,19,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,52,5.0000000000000001E-3,1200,6.8,12,-9.6999999999999957,400,442.45305500397774,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,1.2473133584987863,1.1000000000000014,-2.6999999999999957,-3.7999999999999972,-0.79999999999999716,1.1999999999999957,-2.3999999999999986,-3.8999999999999986,-6.3000000000000043,-9.6999999999999957,-8.0999999999999943,-0.39999999999999858,5.1000000000000014,9.8999999999999986,14.799999999999997,15.5,15.600000000000001,16.200000000000003,17.5,18.784688454800531,15.268560677748603,0]
[38490316,20,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,52,5.0000000000000001E-3,1200,6.8,12,-9.6999999999999957,400,442.45305500397774,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,2.3627557201667528,-9.9999999999997868E-2,-1.5,-2.7999999999999972,-1.6000000000000014,0.29999999999999716,-3.3999999999999986,-4.2999999999999972,-6.7000000000000028,-9.6999999999999957,-8,-0.69999999999999574,5.2000000000000028,9.7999999999999972,14.700000000000003,15.5,15.600000000000001,16.200000000000003,17.299999999999997,18.865928130182368,17.243156393808924,0]
[38490317,21,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,49,52,0.01,1200,18.600000000000001,12,-7.5,250,267.52549873445383,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,4.0504977762558454,2.1999999999999993,-1.3999999999999986,-5,-2.3999999999999986,0.69999999999999574,-4.3999999999999986,-7.5,-7,-1,2.7000000000000028,8.2000000000000028,11.800000000000004,14.5,18.399999999999999,18.800000000000004,18,16.799999999999997,15.200000000000003,15.044671330949939,16.012997273839069,3]
[38490318,22,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,49,52,0.01,1200,18.600000000000001,10,-7.3999999999999986,250,267.52549873445383,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,3.9681563574727292,1.3000000000000007,-2,-5.5,-2.6000000000000014,0.60000000000000142,-4.2999999999999972,-7.3999999999999986,-6.4000000000000057,0.10000000000000142,4,9,12.5,15.299999999999997,18.700000000000003,19.399999999999999,18.899999999999999,17.599999999999994,16.5,16.266534765437711,16.727433683037411,3]
[38490319,23,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,49,52,0.01,1200,18.600000000000001,10,-7.1999999999999957,250,267.52549873445383,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,2.798738565583399,1.1000000000000014,-3.6999999999999957,-8.3999999999999986,-2.6000000000000014,0.5,-4.5,-7.1999999999999957,-6.7000000000000028,0.40000000000000568,3.9000000000000057,8.7000000000000028,12.300000000000004,14.899999999999999,18.5,19.300000000000004,18.699999999999996,17.200000000000003,15.900000000000006,15.96524161935676,15.778135404876444,3]
[38490320,24,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,50,52,0.01,1200,18.600000000000001,6,-7.7999999999999972,250,267.52549873445383,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,3.3032966250036182,1.1000000000000014,-3.2999999999999972,-5.1000000000000014,-2.7999999999999972,0.89999999999999858,-5.3999999999999986,-7.7999999999999972,-2.7000000000000028,1.5,4.2000000000000028,9.3999999999999986,13.200000000000003,16,19.5,20.5,20.6,19.5,18.497573760848013,18.623294573337887,17.866978386986482,4]
[38490321,25,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,50,52,0.01,1200,18.600000000000001,6,-8.4999999999999964,250,267.52549873445383,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,2.679154506189569,0.5,-3.7999999999999972,-5.7999999999999972,-1.8999999999999986,0.39999999999999858,-5.3999999999999986,-8.4999999999999964,-2.8000000000000043,1.4000000000000057,4,9.2000000000000028,12.900000000000006,15.699999999999996,19.200000000000003,20.399999999999999,20.199999999999996,18.700000000000003,17.400000000000006,17.769871737146332,15.948081743858687,4]
[38490322,26,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,51,52,0.01,1200,18.600000000000001,0,-5.6999999999999957,250,267.52549873445383,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,2.6856814542853087,-9.9999999999997868E-2,-2,-4.1000000000000014,-2,0.10000000000000142,-4.2999999999999972,-5.6999999999999957,-1.2000000000000028,4.6000000000000014,6.4000000000000057,11.700000000000003,15.600000000000001,17.799999999999997,20.799999999999997,21.800000000000004,22.708818706271749,21.949085956105762,21.257984920295783,21.324183394005729,18.022734602754433,5]
[38490323,27,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,51,52,0.01,1200,18.600000000000001,0,-5.7999999999999972,250,267.52549873445383,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,2.3840118237837942,-0.39999999999999858,-2.3999999999999986,-4.6999999999999957,-1.8999999999999986,0.19999999999999574,-5.6000000000000014,-5.7999999999999972,-1,4.5,6.8000000000000043,11.899999999999999,15.700000000000003,18.100000000000001,20.6,21.6,22.300000000000004,20.900000000000006,20.240719618214214,21.764409223549904,20.062303079893034,5]
[38490324,28,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,52,52,0.01,1200,18.600000000000001,0,-5.5,250,267.52549873445383,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,2.8938580727394339,0.60000000000000142,-1,-2.6999999999999957,-2.6000000000000014,0.69999999999999574,-4.2999999999999972,-5.5,-0.60000000000000142,4.3000000000000043,7,12.200000000000003,16,18.199999999999996,20.9,21.9,22.6,20.799999999999997,19.883625164281071,21.662945637773333,20.213598747592407,6]
[38490325,29,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,52,9.6999999999999993,4.0000000000000001E-3,1200,5.5,0,-0.29999999999999716,200,212.4831544125108,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,1.220703125E-4,8.1961183978616958E-2,0.19999999999999929,-4.1000000000000014,-8,-12,-4,-0.29999999999999716,1.8000000000000043,3.0999999999999943,3.7000000000000028,4.7000000000000028,7.1000000000000014,9.1000000000000014,11.399999999999999,17.299999999999997,20.5,23.199999999999996,25,27.046314563145231,26.673624912136319,19.73489911111583,6]
[38490327,30,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,51,9.6999999999999993,4.0000000000000001E-3,1200,5.5,10,-2.8999999999999986,200,212.4831544125108,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,1.220703125E-4,0.64551752251451333,-0.59999999999999787,-4.8999999999999986,-7.2999999999999972,-10.399999999999999,-6.1000000000000014,-2.8999999999999986,0.10000000000000142,2.5,3.1000000000000014,5.2000000000000028,6.3999999999999986,7.1000000000000014,8.7999999999999972,16.200000000000003,19.200000000000003,21.9,23.690947853671901,26.250203060855597,27.065641466763665,20.514230712532218,5]
[38490328,31,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,54,9.6999999999999993,8.0000000000000002E-3,1200,16,10,0.70000000000000284,200,124.57929201917949,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,1.953125E-3,4.8828125E-4,2.44140625E-4,2.44140625E-4,1.220703125E-4,3.0517578125E-5,3.0517578125E-5,-0.260604672646366,-1.3999999999999986,-2.8999999999999986,-5,-11.7,-3,0.70000000000000284,1.5,6,10.100000000000001,10.300000000000004,11.399999999999999,12.800000000000004,14.799999999999997,22.4,25.1,26.844121523411211,27.960029941260856,28.07966376726462,24.495152150557175,18.718096320034341,8]
[38490329,32,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,58,9.6999999999999993,8.0000000000000002E-3,1200,16,0,4.3999999999999986,200,124.57929201917949,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,1.953125E-3,4.8828125E-4,2.44140625E-4,2.44140625E-4,1.220703125E-4,3.0517578125E-5,3.0517578125E-5,-2.3180388160213852,-2.3999999999999986,-8.2999999999999972,-5.5,-3.2999999999999972,3.7999999999999972,4.3999999999999986,5.9000000000000057,6.2999999999999972,9.9000000000000057,11.300000000000004,13,15.300000000000004,18.199999999999996,24.900000000000006,27.699999999999996,29.695371414816286,30.454706125507613,30.727431730505984,27.428729710634471,21.703731105027778,12]
[38490330,33,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,50,8,4.0000000000000001E-3,1200,4.2,0,-8.2999999999999972,200,220.82097898955337,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,1.220703125E-4,-0.6536520975366571,-1.5999999999999979,-1.6000000000000014,-2.8999999999999986,-5.6000000000000014,-5.6000000000000014,-8.2999999999999972,-4.6999999999999957,1.2999999999999972,5.8000000000000043,6.3000000000000043,5.6000000000000014,4.9000000000000057,8.7999999999999972,16,17.899999999999999,19.100000000000001,20.599999999999994,22.400000000000006,22.958853981237269,18.487344074617234,4]
[38490331,34,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,50,8,4.0000000000000001E-3,1200,4.2,6,-9.6999999999999993,200,220.82097898955337,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,1.220703125E-4,1.6391180580915368,-9.9999999999997868E-2,-2.6999999999999957,-4.6999999999999957,-4.1999999999999957,-4.8000000000000007,-9.6999999999999993,-5.1999999999999957,-0.5,4.2000000000000028,4.3000000000000043,5,4.8000000000000043,9,16,17.200000000000003,18.5,19.49588499646589,21.567722329351611,21.843886935322558,16.751551034074929,4]
[38490334,37,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,47,19,4.0000000000000001E-3,1200,5.5,0,-10.299999999999997,250,297.38252073106725,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,0.88196118397861767,-1.0999999999999979,-1.6000000000000014,-4.8999999999999986,-4.3999999999999986,-0.60000000000000142,-5.7999999999999972,-10.299999999999997,-8.6000000000000014,-2.5999999999999943,2.7000000000000028,7,7.9000000000000057,5.2999999999999972,12.5,16.5,17.899999999999999,18.200000000000003,21.200000000000003,22.630505190961188,24.602922832562903,1]
[38490335,38,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,46,19,4.0000000000000001E-3,1200,5.5,6,-10.499999999999996,250,297.38252073106725,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,0.14239900870148148,-0.39999999999999858,-3.1000000000000014,-6.6999999999999957,-5,-0.80000000000000426,-6.7999999999999972,-10.499999999999996,-10.000000000000004,-5.3999999999999986,-0.5,4,6.1000000000000014,4.7999999999999972,12.100000000000001,15.600000000000001,16.899999999999999,17.799999999999997,19.900000000000006,21.28253564305767,19.466170479566323,0]
[38490340,43,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,45,61,5.0000000000000001E-3,0,4.7,0,-12,500,576.41592548170991,9.765625E-4,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,1.32685096020586,-9.9999999999997868E-2,-2.8999999999999986,-1.3999999999999986,-0.39999999999999858,2.5,-3.2999999999999972,-4.2999999999999972,-5.6000000000000014,-8,-12,-6.8999999999999986,-0.79999999999999716,4.8999999999999986,13,12.800000000000004,10.399999999999999,10.5,10.900000000000006,9.9000000000000057,12.081573492575352,-1]
[38490341,44,384900301,67,null,29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1,46,45,61,5.0000000000000001E-3,0,4.7,6,-11.199999999999996,500,576.41592548170991,9.765625E-4,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,1.0650615486008199,-0.80000000000000071,-1.6000000000000014,-2.6999999999999957,-1.3999999999999986,3.6999999999999957,-3.5,-4.5,-5.5,-7.6999999999999957,-11.199999999999996,-6.5,-0.89999999999999858,4.6000000000000014,13,13.100000000000001,10.899999999999999,11.200000000000003,11.799999999999997,11.099999999999994,12.59523542349779,-1]
[384900410,45,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,58,52,5.0000000000000001E-3,0,5.4,0,-12,400,496.50631266734018,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,0.125,3.125E-2,1.5625E-2,1.5625E-2,7.8125E-3,1.953125E-3,1.953125E-3,-10.025922096477302,-7.7000000000000028,4.3999999999999986,-2.5,-1.6000000000000014,-3.7000000000000028,-2.2999999999999972,-4.4000000000000057,-6.7999999999999972,-12,-8.2000000000000028,-5.5,3.4999999999999929,5.9000000000000057,7,5.7999999999999972,6.3999999999999915,7.7000000000000028,8.1391476832609442,8.375659648474624,9.9428707202341684,-5]
[384900411,46,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,58,52,5.0000000000000001E-3,0,5.4,6,-11,400,496.50631266734018,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,0.125,3.125E-2,1.5625E-2,1.5625E-2,7.8125E-3,1.953125E-3,1.953125E-3,-8.1111761891165557,-7,3.7999999999999972,-1.4000000000000057,-1.6000000000000014,-3.5,-2.1000000000000014,-5.7000000000000028,-6.7999999999999972,-11,-8.1000000000000014,-5.5,1.9999999999999929,4.4000000000000057,7.7999999999999972,7.2000000000000028,7.8999999999999915,8.8999999999999915,9.1647097400781377,9.2089077195487477,10.005436845940352,-5]
[384900412,47,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,58,52,5.0000000000000001E-3,0,5.4,10,-9.5,400,496.50631266734018,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,0.125,3.125E-2,1.5625E-2,1.5625E-2,7.8125E-3,1.953125E-3,1.953125E-3,-8.1000000000000014,-7.5,4.3999999999999986,-1.5,-1.7000000000000028,-6.1000000000000014,-2.6000000000000014,-6.1000000000000014,-6.2999999999999972,-9.5,-6.8000000000000043,-5,2.8999999999999986,5,7.7000000000000028,7.2000000000000028,7.8999999999999915,9.2000000000000028,9.3526906516658528,9.5025564316048445,10.945446248538161,-5]
[384900413,48,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,58,52,5.0000000000000001E-3,0,5.4,12,-10,400,496.50631266734018,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,0.125,3.125E-2,1.5625E-2,1.5625E-2,7.8125E-3,1.953125E-3,1.953125E-3,-7.2999999999999972,-8.2000000000000028,2.7999999999999972,-3.6000000000000014,-2,-4.5,-1,-4.8000000000000043,-7.6999999999999957,-10,-7.4000000000000057,-4.2999999999999972,2.4999999999999929,4.7000000000000028,7.7000000000000028,7.2000000000000028,8.2999999999999972,9,9.6050525132123425,10.010564905712215,11.31102424057984,-5]
[384900414,49,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,59,52,0.01,0,14.2,12,-9.1000000000000014,250,306.18046781798387,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,-8,-7.1000000000000014,4.2000000000000028,-2.4000000000000057,-4.3999999999999986,-7.3000000000000043,-4.7999999999999972,-9.1000000000000014,-8.8999999999999986,-1.2999999999999972,5.8999999999999915,5.9000000000000057,11.499999999999993,12.365019570255726,12.700000000000003,11.5,11,11.299999999999997,11.599999999999994,11.4765144472901,11.126468634688877,-4]
[384900415,50,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,61,52,5.0000000000000001E-3,0,14.2,6,-8.8000000000000043,250,306.18046781798387,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,-9.8999999999999986,-8.4000000000000021,3.3999999999999986,-2.4000000000000057,-2.5,-7.3000000000000043,-8,-8.8000000000000043,-0.5,1.1000000000000014,6,6.7000000000000028,10.199999999999996,11.400000000000006,12.200000000000003,11.5,10.899999999999991,12,12.599999999999994,12.348773396796901,12.918881030028956,-2]
[384900416,51,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,62,52,5.0000000000000001E-3,0,14.2,0,-6.5,200,306.18046781798387,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,-11.299999999999997,-8.8000000000000007,4.2999999999999972,-4.7000000000000028,-5.5,-9.6000000000000014,-6.5,-4.8000000000000043,2.2000000000000028,4.1000000000000014,7.5,7.2000000000000028,11.499999999999993,13.213985226226043,13.700000000000003,13,11.899999999999991,12.799999999999997,13.400000000000006,13.159811851630636,14.06868460892791,-1]
[384900419,54,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,57,52,0.5,0,4.5,0,-12.600000000000001,400,543.89541478323042,9.765625E-4,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,-12,-8.7000000000000028,6.8999999999999986,-1.4000000000000057,-1.5,-4.3000000000000043,-3.7999999999999972,-5.7000000000000028,-9,-12.600000000000001,-6.5,-1.8999999999999986,5.1999999999999957,6.5,5.7999999999999972,5,4.8999999999999915,7.0999999999999943,6.7999999999999972,7.0999999999999943,8.4385448425751974,-6]
[384900420,55,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,57,52,0.5,0,4.5,6,-13.299999999999997,400,543.89541478323042,9.765625E-4,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,-11.5,-8.9000000000000021,4.1000000000000014,-3.4000000000000057,-3,-5.5,-3.5,-4.5,-8.5,-13.299999999999997,-7.9000000000000057,-2.8999999999999986,4.6000000000000014,5.5,5.7000000000000028,4.5999999999999943,4.2999999999999972,6.3999999999999915,6.3058876789040568,6.3499426039510638,7.107998548437493,-6]
[384900421,56,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,57,52,5.0000000000000001E-3,0,5.8,0,-11.100000000000001,400,479.0795772930739,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,-11.899999999999999,-6.8000000000000007,8.2000000000000028,-7,-2,-2.6000000000000014,-2.1000000000000014,-3.7000000000000028,-7.2999999999999972,-11.100000000000001,-10.5,-9.2999999999999972,1.1999999999999957,4.2000000000000028,6.2999999999999972,3.3999999999999915,4.2000000000000028,5.7000000000000028,6.5,7.7235167652066252,8.5022904906423946,-6]
[384900422,57,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,57,52,5.0000000000000001E-3,0,5.8,6,-11.300000000000004,500,479.0795772930739,1.953125E-3,3.90625E-3,7.8125E-3,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,-12.899999999999999,-7,5.2000000000000028,-5.2000000000000028,0,-2.5,-1.5,-3.3000000000000043,-6.5999999999999943,-10.100000000000001,-11.300000000000004,-10.299999999999997,0.19999999999999574,3.4000000000000057,6.2000000000000028,3.7999999999999972,3.7999999999999972,5.2999999999999972,5.9000000000000057,7.5,7.6254005096030824,-6]
[384900427,62,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,64,8,5.0000000000000001E-3,0,5.5,0,2.5,200,192.96726052976874,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,1.220703125E-4,6.103515625E-5,-15.299999999999997,-7.4000000000000021,-0.60000000000000142,-13.5,-7.8999999999999986,-3.8000000000000043,2.5,3.8999999999999986,4,5,7.7999999999999972,8,12.899999999999999,13,12.799999999999997,11.348117251206745,9.3999999999999915,9.7978280742429433,10.536551369171065,10.314698169160252,11.115934269342887,1]
[384900428,63,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,65,8,5.0000000000000001E-3,0,5.5,6,2.5,200,192.96726052976874,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,1.220703125E-4,6.103515625E-5,-16.5,-3.3999999999999986,-0.20000000000000284,-13.300000000000004,-7.2000000000000028,-2.5,2.5,5,5.6000000000000014,6.6999999999999957,8.3999999999999915,9.5,14.899999999999999,13.900000000000006,13.299999999999997,11.299999999999997,9.2000000000000028,9,10.799999999999997,9.9000000000000057,11.194009774486901,2]
[384900429,64,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,69,8,0.01,0,13.8,6,6.8000000000000043,200,121.82191802030097,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,1.220703125E-4,6.103515625E-5,3.0517578125E-5,1.52587890625E-5,-16.799999999999997,-5,1.8999999999999986,-8.5,1.6999999999999957,1,6.8000000000000043,7.5,8.4000000000000057,8.1000000000000014,9.5999999999999943,9.2999999999999972,15.100000000000001,14.400000000000006,13.099999999999994,11.5,9.2999999999999972,8.7000000000000028,8.5,8.5,10.067600274928012,6]
[384900431,66,38490029,6,null,45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994,63,58,11,5.0000000000000001E-3,0,5.9,6,-10.899999999999999,200,218.46925083251881,1.5625E-2,3.125E-2,6.25E-2,0.125,0.25,0.5,1,1,0.5,0.25,0.125,6.25E-2,3.125E-2,1.5625E-2,7.8125E-3,3.90625E-3,1.953125E-3,9.765625E-4,4.8828125E-4,2.44140625E-4,1.220703125E-4,-13.399999999999999,-5.7000000000000028,5.1000000000000014,-12,-3.8999999999999986,-7.2000000000000028,-10.899999999999999,-10.700000000000003,-5,-0.60000000000000142,3.6999999999999957,0.80000000000000426,2.9999999999999929,3.7000000000000028,4.2999999999999972,2.8999999999999915,3.7999999999999972,5.8999999999999915,7.0999999999999943,7.1915173880851313,7.5058544517979016,-5]

{"sheet":"Drop_downs","index":3,"n_rows":4,"n_cols":22,"rows_kept":4,"cut":false,"hidden":true,"merged":[]}
[null,50,63,80,100,125,160,200,250,315,400,500,630,800,1000,1250,1600,2000,2500,3150,4000,5000]
["Grundwand auswählen"]
["SHB Beton",45.9,37.6,39,50.2,47.1,49.7,48.4,52.2,54.8,58.4,58.7,62.8,62.6,64.8,66.2,69.2,70.2,71.2,73.5,77,79.099999999999994]
["SHB Ziegel",29.718038816021384,28.2,37.9,40.9,42.4,36.6,38.4,40.299999999999997,41.2,42.8,46.8,48.4,47.3,46.1,40.5,42.4,45.1,48,52.3,55.5,58.1]